{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Arkusz2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Arkusz2","index":0,"n_rows":41,"n_cols":3,"rows_kept":41,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"SZPITAL W CHODZIEŻY "]
[]
[null,"Budynek szpitala  ID PL0031915744"]
[null,"Grupa taryfowa BW-6"]
[null,"Moc zamówiona kWh/h 1207"]
[]
[null,"Miesiąc ","kWh "]
[null,"sierpień",61808]
[null,"wrzesień",76418]
[null,"październik",185324]
[null,"listopad",265635]
[null,"grudzień",315732]
[null,"styczeń",363425]
[null,"luty",372751]
[null,"marzec",353273]
[null,"kwiecień",127974]
[null,"maj",76340]
[null,"czerwiec",66516]
[null,"lipiec",65780]
[null,"SUMA",2330976]
[]
[]
[]
[null,"Budynek mieszkalny  OSD 1305135054"]
[null,"Grupa taryfowa BW-4"]
[]
[null,"Miesiąc ","kWh "]
[null,"sierpień",8233]
[null,"wrzesień",8589]
[null,"październik",8850]
[null,"listopad",8165]
[null,"grudzień",7445]
[null,"styczeń",8658]
[null,"luty",8891]
[null,"marzec",10076]
[null,"kwiecień",8951]
[null,"maj",9545]
[null,"czerwiec",8068]
[null,"lipiec",8872]
[null,"SUMA",104343]