{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Aparatura laboratoryjna"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Aparatura laboratoryjna","index":0,"n_rows":29,"n_cols":7,"rows_kept":29,"cut":false,"hidden":false,"merged":[[7,5,7,6]],"flags":["formulas_cached_only"]}
["                                                            Szpital w Ludwikowie"]
[]
[]
["                                                                   SPRZĘT  LABORATORYJNY"]
[]
[]
[null,"Pakiet nr 15"]
[{"$nulls":5},"ORIENTACYJNE TERMINY PRZEGLĄDÓW"]
["Lp.","Nazwa sprzętu, typ","Ilość sprzętu","Ilość przeglądu","Producent","Data przeglądu","Data przeglądu"]
[1,"mikroskop CX-41",2,4,"Olympus","06/2017","06/2018"]
[2,"mikroskop z fluorystencją",1,2,"Olympus","06/2017","06/2018"]
[3,"mikroskop amplival",1,2,"Carl Zeiss Jena","06/2017","06/2018"]
[4,"mikroskop biolar",1,2,"P.Z.O. - Warszawa","06/2017","06/2018"]
[5,"Clinitec 100",1,2,"Miles","06/2017","06/2018"]
[6,"densytometr",1,2,"Emco P.Z.","06/2017","06/2018"]
[7,"fotometr",1,2,"Poll Limited","06/2017","06/2018"]
[8,"koagulometr",1,2,"Kselmed","06/2017","06/2018"]
[9,"komora do elektroforezy",1,2,"Intermed","06/2017","06/2018"]
[10,"mieszadło elektryczne",1,2,"Desaga Heldelberg","06/2017","06/2018"]
[11,"sumator hematologiczny",1,2,"Alchem","06/2017","06/2018"]
[12,"sumator hematologiczny",2,4,"Kortex","06/2017","06/2018"]
[13,"Wirówka laboratoryjna",2,4,"Mechanika Precyzyjna","06/2017","06/2018"]
[14,"Wirówka laboratoryjna",2,4,"MPW","06/2017","06/2018"]
[15,"Wirówka laboratoryjna",1,2,"Eppendorf","06/2017","06/2018"]
[16,"PH-metr",1,2,"Elmetron","06/2017","06/2018"]
[17,"agregometr z oprogramowaniem",1,2,"Chronolog","06/2017","06/2018"]
[18,"ciplarka laboratoryjna",1,2,"Pol-Eko","06/2017","06/2018"]
[19,"redestylator",1,2,"Polna","06/2017","06/2018"]
[20,"Cardiac Reader",1,2,"Roche Diagnostics","06/2017","06/2018"]